

**Sabouraud Dextrose Broth**

Medical laboratories medium used for the cultivation of yeasts, moulds and aciduric bacteria, particularly useful for the fungi associated with skin infections and other clinical specimens.

|  |  |
| --- | --- |
| REF: V/SA01.100 100 Gram  REF: V/SA01.500 500 Gram | REF: V/SA01.250 250 Gram |

**CLINICAL SIGNIFICANCE**

Sabouraud Dextrose Broth was formulated by Sabouraud in 1892 for cultivating dermatophytes. The pH is adjusted to approximately 5.6 in order to enhance the growth of fungi, especially dermatophytes, and to slightly inhibit bacterial growth in clinical specimens. SDB is also used to determine the mycological evaluation of food, contamination in cosmetics, and clinically to help in the diagnosis of yeast and fungal infections.

**METHOD PRINCIPLE**

Mycological peptone provides nitrogenous compounds. Dextrose acts as a source of energy. Agar acts as a solidifying agent. The low pH favors fungal growth and inhibits contaminating bacteria. Antibiotics like chloramphenicol, gentamicin, and tetracycline can be added as selective agents to inhibit the overgrowth of competing bacteria while permitting the successful isolation of fungi and yeasts. Various other modifications are also reported by using cycloheximide, penicillin, streptomycin, neomycin depending upon the intended use.

**MEDIA COMPOSITION**

|  |  |
| --- | --- |
| Item | Formula per liter of medium |
| Mycological peptone | 10 gm |
| Dextrose | 40 gm |

**PRECAUTIONS AND WARNINGS**

Media to be handled by entitled and professionally educated person. Do not ingest or inhale.

Good Laboratories practices using appropriate precautions should be followed in:

* Wearing personnel protective equipment (overall, gloves, glasses,).  Do not pipette by mouth.
* In case of contact with eyes or skin; rinse immediately with plenty of soap and water. In case of severe injuries; seek medical advice immediately.
* Respect country requirement for waste disposal.

S56: dispose of this material and its container at hazardous or special waste collection point.

S57: use appropriate container to avoid environmental contamination.

S61: avoid release in environment.

For further information, refer to the Sabouraud Dextrose Broth material

safety data sheet.

**STORAGE AND STABILITY**

BioScien Sabouraud Dextrose Broth should be stored between 10-30°C in a firmly closed container and the prepared medium at 2-8°C. Use

before expiry date on the label. On opening, product should be properly stored dry, after tightly capping the bottle in order to avoid lump development due to the hygroscopic nature of the product. Improper storage of the product may lead to lump formation. Store in a dry ventilated area protected from extremes of temperature and sources of ignition. Seal the container tightly after use. Product performance is best if used within stated expiry period.

Final pH 5.6 ± 0.2 at 25°C

**PREPARATION**

Suspend 65 grams in 1 liter of distilled water. Heat to boiling to dissolve the medium completely. Sterilize by autoclaving at 15 lbs. pressure. (121 °C) for 15 minutes.

**Deterioration**

The color of **Lab.Vie**. Sabouraud Dextrose Broth is light yellow homogeneous free flowing powder. Prepared Media is light amber in color. If there are any physical changes for powder or signs of deterioration (shrinking, cracking, or discoloration), and contaminations for hydrated media, discard the medium.

**SPECIMEN**

All Clinical specimens that require Fungi detection

**EQUIPMENT REQUIRED NOT PROVIDED**

* Sterile petri tubes
* Incubator
* Autoclave

**PERFORMANCE CHARACTERISTICS**

Cultural characteristics observed after 48-72 hours at 28-30 °C.

|  |  |  |
| --- | --- | --- |
| Microorganism | Result | |
| Aspergillus brasiliensis (ATCC 16404) | Growth is seen as colonies ranging from 10-100 CFU | |
| Candida albicans (ATCC 10231) | Growth is seen as colonies ranging from 10-100 CFU | |
| Saccharomyces cerevisiae (ATCC 9763) | Growth is seen as colonies ranging from 10-100 CFU | |
| Penicillium roquefortii (ATCC 10110) | Growth is seen as  inoculation colonies | point |
| Trichophyton mentagrophytes (ATCC 9533) | Growth is seen as  inoculation colonies | point |
| Microsporum canis (ATCC 36299) | Growth is seen as  inoculation colonies | point |

|  |  |
| --- | --- |
| SYMBOLS IN PRODUCT LABELLING | |
| IVD For in-vitro diagnostic use | Number of <n> test in the pack |
| LOT Batch Code/Lot number | Caution |
| REF Catalogue Number | Do not use if package is damaged |
| Temperature Limitation    Expiration Date  Manufactured by | Consult Instruction for use |

**QUALITY CONTROL**

To ensure adequate quality control, it is recommended that positive and negative control included in each run. If control still out of range please contact **Lab.Vie**.technical support.

**REFERENCES**

1. Jorgensen, J.H., Pfaller, M.A., Carroll, K.C., Funke, G., Landry, M.L.,
2. Richter, S.S and Warnock., D.W. (2015) Manual of Clinical

Microbiology, 11th Edition. Vol. 1.

1. Sabouraud K., 1892, Ann. Dermatol. Syphilol, 3:1061.
2. Carlier, G., (1948). Brit. J. Derm. Syph. 60,61.
3. American Type Culture Collection, Manassas, Va., U.S.A.
4. U.S. Pharmacopeia, (1985). 21st Revision. U.S. Pharmacopeial Convention, Inc., Rockville, Maryland.

**** **Ismailia – Free zone, Ismailia – Egypt IFU-S-02, Rev. 03 - December 2019**

**Post code-41511**

**E-mail : admin@labvielab.com**

**Website: www.labvielab.com**